# Lipofectamine™ 3000 Reagent Protocol

## Objective

To transfect nucleic acids into a wide range of eukaryotic cells, including hard-to-transfect cells, using Lipofectamine™ 3000 Reagent and optimize conditions for successful transfection.

## Materials

Lipofectamine™ 3000 Reagent

P3000™ Reagent

Plasmid DNA (0.5–5 μg/μL stock)

Opti-MEM™ Reduced Serum Medium

Microcentrifuge tubes

Appropriate tissue culture plates (96-well, 24-well, 6-well)

Recommended growth medium for cells

Cell culture incubator set at 37°C

## Procedure

Plate cells so they will be 70–90% confluent at the time of transfection. Use these seeding densities per well:

96-well plate: 1–4 × 10^4 adherent cells

24-well plate: 0.5–2 × 10^5 adherent cells

6-well plate: 0.25–1 × 10^6 adherent cells

Prepare two tubes of diluted Lipofectamine™ 3000 Reagent in Opti-MEM™ Medium per well for optimization:

96-well plate: 0.15 µL and 0.3 µL Lipofectamine™ 3000 Reagent diluted in 5 µL Opti-MEM™ each

24-well plate: 0.75 µL and 1.5 µL Lipofectamine™ 3000 Reagent diluted in 25 µL Opti-MEM™ each

6-well plate: 3.75 µL and 7.5 µL Lipofectamine™ 3000 Reagent diluted in 125 µL Opti-MEM™ each

Mix well and vortex 2–3 seconds.

Prepare DNA master mix by diluting plasmid DNA in Opti-MEM™ Medium; then add P3000™ Reagent at 2 µL per µg DNA:

96-well plate: 0.2 µg DNA diluted in Opti-MEM™ to 5 µL, add 0.4 µL P3000™ Reagent

24-well plate: 1 µg DNA diluted in Opti-MEM™ to 25 µL, add 2 µL P3000™ Reagent

6-well plate: 5 µg DNA diluted in Opti-MEM™ to 125 µL, add 10 µL P3000™ Reagent

Mix well.

Add diluted DNA (with P3000™ Reagent) to each tube of diluted Lipofectamine™ 3000 Reagent at a 1:1 volume ratio:

96-well plate: Add 5 µL DNA solution to 5 µL Lipofectamine™ 3000 solution

24-well plate: Add 25 µL DNA solution to 25 µL Lipofectamine™ 3000 solution

6-well plate: Add 125 µL DNA solution to 125 µL Lipofectamine™ 3000 solution

Mix gently.

Incubate the DNA-lipid complexes for 10–15 minutes at room temperature.

Add the DNA-lipid complexes directly to the cells in culture medium without removing or changing the medium. Use the following amounts per well during transfection:

96-well plate: 100 ng DNA, 0.2 µL P3000™ Reagent, 0.15 µL and 0.3 µL Lipofectamine™ 3000 Reagent in 10 µL total volume

24-well plate: 500 ng DNA, 1 µL P3000™ Reagent, 0.75 µL and 1.5 µL Lipofectamine™ 3000 Reagent in 50 µL total volume

6-well plate: 2,500 ng DNA, 5 µL P3000™ Reagent, 3.75 µL and 7.5 µL Lipofectamine™ 3000 Reagent in 250 µL total volume

Incubate cells for 2–4 days at 37°C.

Visualize or analyze transfected cells as desired.

For siRNA transfection, follow the same protocol except do not add P3000™ Reagent when diluting the siRNA.

## Notes

Lipofectamine™ 3000 Reagent should be stored at 4°C and never frozen.

It is not necessary to remove or change the culture medium after transfection.

Begin new transfections by testing the two recommended Lipofectamine™ 3000 Reagent concentrations to find the optimum.

Start with the indicated DNA and reagent volumes for the given well sizes and scale proportionally for multiple wells.

## Review Checklist

[ ] Growth conditions verified (37°C, 2–4 days)

[ ] Media composition and volumes verified (Opti-MEM™ for dilutions, cells in culture medium during transfection)

[ ] Mixing parameters verified (vortex 2–3 sec, gentle mixing after complex assembly)

[ ] Incubation times verified (10–15 minutes for complex formation, 2–4 days post transfection)

[ ] Centrifugation settings verified (not applicable)

[ ] Step order confirmed against source

[ ] Any ambiguous values flagged with [CHECK]

## Review Flags

## Critical Parameters Checklist (from the protocol)

Cell seeding density:

96-well: 1–4 × 10^4

24-well: 0.5–2 × 10^5

6-well: 0.25–1 × 10^6

Lipofectamine™ 3000 Reagent volumes (for two optimization doses per well):

96-well: 0.15 µL and 0.3 µL

24-well: 0.75 µL and 1.5 µL

6-well: 3.75 µL and 7.5 µL

Opti-MEM™ volumes for dilution:

96-well: 5 µL (per Lipofectamine tube)

24-well: 25 µL (per Lipofectamine tube)

6-well: 125 µL (per Lipofectamine tube)

DNA amount per well:

96-well: 0.2 µg total (prepared), 100 ng added per well

24-well: 1 µg total, 500 ng added per well

6-well: 5 µg total, 2500 ng added per well

P3000™ Reagent volume: 2 µL per µg DNA in preparation; amounts per well: 0.2 µL (96-well), 1 µL (24-well), 5 µL (6-well)

DNA-lipid complex incubation time: 10–15 minutes at room temperature

Post-transfection incubation time and temperature: 2–4 days at 37°C

Vortex mixing duration: 2–3 seconds for Lipofectamine dilution

Total DNA-lipid complex volumes per well:

96-well: 10 µL

24-well: 50 µL

6-well: 250 µL

## Potential Missing Parameters (compare to source)

Specific instruction on mixing steps after combining diluted DNA and Lipofectamine™ solutions: protocol states "Mix gently," but the source does not explicitly specify mixing method or vortexing at this step.

Storage condition of Lipofectamine™ 3000 Reagent given in Notes (4°C, do not freeze); this comes from source but is only briefly mentioned there.

Source mentions the procedure timing as "Preparation: 10 minutes" and "Incubation: 10–15 minutes" and "Final incubation: 1–3 days," but protocol lists 2–4 days post-transfection incubation, slightly longer than source; difference not addressed explicitly.

Absence of explicit warning or guidance about handling or possible toxicity at different Lipofectamine concentrations. Although source recommends testing two concentrations, no cautionary notes or expected toxicity signs are included. [CHECK]

No explicit mention of medium composition during transfection beyond "culture medium" (source states presence or absence of serum/antibiotic acceptable). The protocol simplistically says "cells in culture medium." [CHECK]

## Possible Unsupported Claims

None detected. All claims and instructions are consistent with and directly supported by the source text.

## Step Order / Omission Risks

No steps appear omitted; order follows the source protocol logically.

Step mixing after combining DNA and lipid solutions says "Mix gently" without specifying vortex or pipetting, whereas source does not explicitly instruct mixing here—potential ambiguity but not omission.

No mention of timing or conditions for preparing master mix of DNA with P3000™ Reagent prior to combining with Lipofectamine—protocol implies but does not explicitly state incubation or mixing time for this step. [CHECK]

The siRNA transfection modification step is brief but aligns with source text.

Final incubation timing difference (protocol says 2–4 days; source says 1–3 days) may require clarification to avoid deviation.

---

Summary: The generated protocol is largely complete and consistent with the source text. Minor ambiguities relate to mixing instructions and incubation time post-transfection. No unsupported claims found, and all key parameters appear included.